## Slide 1: Multidimensional Datasets

## Slide 2: Universal Imaging and Spectroscopic Data (USID)
2D Matrix for an Entire Spectral-Image Chunked by outermost position loop.
These results have been already normalized by the excitation band
Position Indices
Position Values
Spectroscopic Indices
Spectroscopic Values
Attribute A
Attribute Z
…
Main Dataset
Location
Time / Spectral 
Measurement / Analysis parameters
  Data stored as 2D matrix of (position x spectral values) regardless of dimensionality
  Ancillary datasets explain the data
  Example data types:
  2D images = (Npixels x 1)
  Single spectra = (1 x Zsteps)
  Spectroscopy on grid = (Npixelsx Vsteps)

## Slide 3: USID – 1D spectra

## Slide 4: USID – 2D Image
USID 2D form
Original N-D form

## Slide 5: USID – Spectra on Grid (3D)

## Slide 6: USID - Instrument Agnostic Code
Instrument-agnostic data allows instrument-agnostic code
Single version of analysis and processing routine
Brings multiple scientific communities together
SPM
Multispectral imaging
STM I-V spectroscopy
STEM
ptychography
Decomposition
FFT filtering
Clustering
Functional fitting